## PCR Summary of Costs
PCR Ref. No. | Tenant | Address | City | State | Description | Immediate Expenses | Reserve (Years 1-2) | Reserve (Years 3-5) | Subsequent Expenses[1] (Years 6-8) | Landlord or Tenant Responsibility? | Cost to Landlord
22-367576.1 | Family Dollar-Dollar Tree - Mount Herman | 36339 Highway 38 | MOUNT HERMON | LA | Pedestrian Ramps - Reslope the ramp to have a running slope 8.33% max and cross slope 2% max. | 2500
22-367576.1 | Family Dollar-Dollar Tree - Mount Herman | 36339 Highway 38 | MOUNT HERMON | LA | Vegetative materials appeared to be in good to fair condition. Partner noted areas of erosion due to barren terrain and lack of landscaping materials to prevent soil runoff and silt accumulation at the landscaped areas at the north and east perimeters. Repairs are recommended to prevent continued silt accumulation and soil runoff | 4000
22-367576.2 | Family Dollar - Bruce | 116 South Pontotoc Road | BRUCE | MS | Doors - Reslope landing to provide a slope of no greater than 2% in any direction. | 2500
22-367576.2 | Family Dollar - Bruce | 116 South Pontotoc Road | BRUCE | MS | Pedestrian Ramps - Reslope the ramp to have a running slope 8.33% max and cross slope 2% max. | 2500
22-367576.2 | Family Dollar - Bruce | 116 South Pontotoc Road | BRUCE | MS | Correction of deferred maintenance / construction deficiencies listed above. | 7500
22-367576.2 | Family Dollar - Bruce | 116 South Pontotoc Road | BRUCE | MS | Parking - Relocate the parking space to a location in close proximity to the building entrance and include an accessible route to the entrance served. | 4500
22-367576.2 | Family Dollar - Bruce | 116 South Pontotoc Road | BRUCE | MS | Roof system coating(Year - 8) | 0 | 0 | 0 | 37800
Total
Notes:
[1] Subsequent Expenses refer to any single line item cost that exceeds $10K expected to occur in Reserve Years 6-8.

## Acq - PCR Checklist
Check as appropriate
PCR Repairs | $ amount of repairs | Approved | Disapproved
Tenant PCR Costs
Landlord PCR Costs
Approval | Check as appropriate | $ amount of credit/reduction.
Absolute NNN Lease
Purchase Price Credit at Closing for future work to be done at the Property at LL’s cost
Purchase Price Reduction in Purchase Agreement
Approval Cushion (if applicable: list IC approved purchase price and actual purchase price)
Approval of an Investment Committee Member (if under 1% of purchase price) (if applicable, list name)
Approval of full Investment Committee (no reduction of purchase price/credit required)