## Immediate & Short Term Repairs
SECTION NUMBER | DEFICIENCY OR REPAIR ITEM | REPAIR TIME FRAME | QUANTITY | UNIT | UNIT COST | IMMEDIATE (0-12 MONTHS) | SHORT-TERM (12-24 MONTHS)
4.4.1 | Partner observed areas of water-damaged acoustic ceiling panels in the sales floor area of the building from possible past or active roof leaks. Partner recommends a certified roofing contractor repair any active roof leaks at this time. | Immediate (0-12 months) | 1 | EA | $5,000.00 | $5,000.00
6.4 | Partner observed areas of water-damaged ceiling tiles. Replacement of the affected finishes is recommended at this time. | Immediate (0-12 months) | 1 | EA | $300.00 | $300.00
TOTALS | [5 empty] | $5,300.00